## A2W (hidden)
Ceník 2021 | Název výrobku |  | Název výrobku úprava 2 |  | Výrobce | Řada | Výkon | Chkadivo | Napájení | Typové označení | Kód | Dodavatel
N | Mitsubishi Electric Power Inverter 5,0 kW | Mitsubishi Electric POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 5,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SW50VKA/E*SD-**C | SVT20115 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Power Inverter 5,0 kW | Mitsubishi Electric POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 5,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 5,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SW50VKA/E*ST20D-**C | SVT20116 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Power Inverter 7,5 kW | Mitsubishi Electric POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-SW75VHA/E*SC-**C | SVT20117 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Power Inverter 7,5 kW | Mitsubishi Electric POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-SW75VHA/E*ST20C-**C | SVT20118 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Power Inverter 10 kW | Mitsubishi Electric POWER INVERTER 10,0 kW R410a | POWER INVERTER 10,0 kW R410a | POWER INVERTER 10,0 kW R410a | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R410a |  | PUHZ-SW100*HA/E*SC-**C | SVT20119 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Power Inverter 10 kW | Mitsubishi Electric POWER INVERTER 10,0 kW R410a | POWER INVERTER 10,0 kW R410a | POWER INVERTER 10,0 kW R410a | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R410a |  | PUHZ-SW100*HA/E*ST20C-**C | SVT20120 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 12,0 kW | Mitsubishi Electric POWER Inverter 12,0 kW R410a | POWER Inverter 12,0 kW R410a | POWER Inverter 12,0 kW R410a | Mitsubishi Electric | POWER Inverter | 12,0 kW | R410a |  | PUHZ-SW120*HA/E*SC-**C | SVT20121 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 12,0 kW | Mitsubishi Electric POWER Inverter 12,0 kW R410a | POWER Inverter 12,0 kW R410a | POWER Inverter 12,0 kW R410a | Mitsubishi Electric | POWER Inverter | 12,0 kW | R410a |  | PUHZ-SW120*HA/E*ST20C-**C | SVT20122 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 16,0 kW | Mitsubishi Electric POWER Inverter 16,0 kW R410a (3f/400V/50Hz) | POWER Inverter 16,0 kW R410a (3f/400V/50Hz) | POWER Inverter 16,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 16,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW160YKA/E*SE-**C | SVT20123 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 20,0 kW | Mitsubishi Electric POWER Inverter 20,0 kW R410a (3f/400V/50Hz) | POWER Inverter 20,0 kW R410a (3f/400V/50Hz) | POWER Inverter 20,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 20,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW200YKA/E*SE-**C | SVT20124 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Zubadan Inverter 8 kW | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R410a | ZUBADAN INVERTER 8,0 kW R410a | ZUBADAN INVERTER 8,0 kW R410a | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R410a |  | PUHZ-SHW80VHA/E*SC-**C | SVT20125 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Zubadan Inverter 8 kW | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R410a | ZUBADAN INVERTER 8,0 kW R410a | ZUBADAN INVERTER 8,0 kW R410a | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R410a |  | PUHZ-SHW80VHA/E*ST20C-**C | SVT20126 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Zubadan Inverter 11,2 kW | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW R410a | ZUBADAN INVERTER 11,2 kW R410a | ZUBADAN INVERTER 11,2 kW R410a | Mitsubishi Electric | ZUBADAN INVERTER | 11,2 kW | R410a |  | PUHZ-SHW112*HA/E*SC-**C | SVT20127 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Zubadan Inverter 11,2 kW | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW R410a | ZUBADAN INVERTER 11,2 kW R410a | ZUBADAN INVERTER 11,2 kW R410a | Mitsubishi Electric | ZUBADAN INVERTER | 11,2 kW | R410a |  | PUHZ-SHW112*HA/E*ST20C-**C | SVT20128 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW | Mitsubishi Electric ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 14,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW140YHA/E*SC-**C | SVT20129 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW | Mitsubishi Electric ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 14,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW140YHA/E*ST20C-**C | SVT20130 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 23,0 kW | Mitsubishi Electric ZUBADAN Inverter 23,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 23,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 23,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 23,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW230YKA/E*SE-**C | SVT20131 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Mr. SLIM+ 7,5 kW | Mitsubishi Electric Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | Mr. SLIM+ | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-FRP71VHA/EHSC-**C | SVT20132 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric Mr. SLIM+ 7,5 kW | Mitsubishi Electric Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | Mr. SLIM+ | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-FRP71VHA/EHST20C-**C | SVT20133 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 7,5 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 7,5 kW | R410a | (3f/400V/50Hz) | PUHZ-SW75YAA/E*SD-**C | SVT22329 | CS-MTRADE, s.r.o.
A |  |  |  | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 7,5 kW | R410a | (3f/400V/50Hz) | PUHZ-SW75YAA/E*SD-**D |  | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 7,5 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 7,5 kW | R410a | (3f/400V/50Hz) | PUHZ-SW75YAA/E*ST20D-**C | SVT22330 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW100YAA/E*SC-**C | SVT22331 | CS-MTRADE, s.r.o.
A |  |  |  | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW100YAA/E*SC-**D |  | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW100YAA/E*ST20C-**C | SVT22332 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW80YAA/E*SC-**C | SVT22333 | CS-MTRADE, s.r.o.
A |  |  |  | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW80YAA/E*SC-**D
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW80YAA/E*ST20C-**C | SVT22334 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW112YAA/E*SC-**C | SVT22335 | CS-MTRADE, s.r.o.
A |  | Mitsubishi Electric ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) |  | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW112YAA/E*SC-**D |  | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW112YAA/E*ST20C-**C | SVT22336 | CS-MTRADE, s.r.o.
A |  |  |  | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 7,5 kW | R410a | (3f/400V/50Hz) | PUHZ-SW75YAA/E*ST20D-**D |  | CS-MTRADE, s.r.o.
A |  |  |  | POWER Inverter 7,5 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 7,5 kW | R410a | (3f/400V/50Hz) | PUHZ-SW75YAA/E*ST30D-**D |  | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 7,5 kW (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-SW75VAA/E*SD-**C | SVT22337 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 7,5 kW (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | POWER INVERTER 7,5 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-SW75VAA/E*ST20D-**C | SVT22338 | CS-MTRADE, s.r.o.
A |  |  |  | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW100YAA/E*ST20C-**D
A |  |  |  | POWER Inverter 10,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SW100YAA/E*ST30C-**D
N | Mitsubishi Electric POWER INVERTER 10,0 kW (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SW100VAA/E*SC-**C | SVT22339 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | POWER INVERTER 10,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SW100VAA/E*ST20C-**C | SVT22340 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SHW80VAA/E*SC-**C | SVT22341 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R410a | (1f/230V/50Hz) | PUHZ-SHW80VAA/E*ST20C-**C | SVT22342 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 11,2 kW | R410a | (1f/230V/50Hz) | PUHZ-SHW112VAA/E*SC-**C | SVT22343 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | ZUBADAN INVERTER 11,2 kW R410a (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 11,2 kW | R410a | (1f/230V/50Hz) | PUHZ-SHW112VAA/E*ST20C-**C | SVT22344 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 4,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 4,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM40VA/E*SD-**D | SVT25929 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ECO INVERTER 4,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 4,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM40VA/E*ST17D-**D | SVT25930 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 4,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 4,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM40VA/E*ST20D-**D | SVT25931 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 4,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | ECO Inverter 4,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 4,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM40VA/E*ST30D-**D |  | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM60VA/E*SD-**D | SVT25932 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ECO INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM60VA/E*ST17D-**D | SVT25933 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM60VA/E*ST20D-**D | SVT25934 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | ECO Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM60VA/E*ST30D-**D |  | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 8,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM80VA/E*SD-**D | SVT25935 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ECO INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 8,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM80VA/E*ST17D-**D | SVT25936 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 8,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM80VA/E*ST20D-**D | SVT25937 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ECO INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | ECO Inverter 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ECO Inverter | 8,0 kW | R32 | (1f/230V/50Hz) | SUZ-SWM80VA/E*ST30D-**D | SVT25938 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM60VAA/E*SD-****D | SVT25939 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM60VAA/E*ST17D-****D | SVT25940 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM60VAA/E*ST20D-****D | SVT25941 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 6,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 6,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM60VAA/E*ST30D-****D | SVT25942 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM80VAA/E*SD-****D | SVT25943 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM80VAA/E*ST17D-****D | SVT25944 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM80VAA/E*ST20D-****D | SVT25945 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM80VAA/E*ST30D-****D | SVT25946 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM80YAA/E*SD-****D | SVT25947 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM80YAA/E*ST17D-****D | SVT25948 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM80YAA/E*ST20D-****D | SVT25949 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | POWER Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM80YAA/E*ST30D-****D | SVT25950 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM100VAA/E*SD-****D | SVT25951 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM100VAA/E*ST20D-****D | SVT25952 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM100VAA/E*ST30D-****D | SVT25953 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM100YAA/E*SD-****D | SVT25954 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM100YAA/E*ST20D-****D | SVT25955 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | POWER Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM100YAA/E*ST30D-****D | SVT25956 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM120VAA/E*SD-****D | SVT25957 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM120VAA/E*ST20D-****D | SVT25958 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | POWER INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | POWER INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SWM120VAA/E*ST30D-****D | SVT25959 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM120YAA/E*SD-****D | SVT25960 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM120YAA/E*ST20D-****D | SVT25961 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | POWER Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | POWER Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SWM120YAA/E*ST30D-****D | SVT25962 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM60VAA / E*SD-****D | SVT25963 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM60VAA / E*ST17D-****D | SVT25964 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM60VAA / E*ST20D-****D | SVT25965 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 6,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | ZUBADAN Inverter 6,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 6,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM60VAA / E*ST30D-****D | SVT25966 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM80VAA/E*SD-****D | SVT25967 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM80VAA/E*ST17D-****D | SVT25968 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM80VAA/E*ST20D-****D | SVT25969 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 8,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 8,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM80VAA/E*ST30D-****D | SVT25970 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM80YAA/E*SD-****D | SVT25971 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM80YAA/E*ST17D-****D | SVT25972 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM80YAA/E*ST20D-****D | SVT25973 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 8,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 8,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM80YAA/E*ST30D-****D | SVT25974 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM100VAA/E*SD-****D | SVT25975 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM100VAA/E*ST20D-****D | SVT25976 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 10,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 10,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM100VAA/E*ST30D-****D | SVT25977 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM100YAA / E*SD-****D | SVT25978 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM100YAA / E*ST20D-****D | SVT25979 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 10,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 10,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 10,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM100YAA / E*ST30D-****D | SVT25980 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM120VAA/E*SD-****D | SVT25981 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM120VAA/E*ST20D-****D | SVT25982 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 12,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 12,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM120VAA/E*ST30D-****D | SVT25983 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM120YAA / E*SD-****D | SVT25984 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM120YAA / E*ST20D-****D | SVT25985 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 12,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 12,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 12,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM120YAA / E*ST30D-****D | SVT25986 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 14,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM140VAA/E*SD-****D | SVT25987 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 14,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM140VAA/E*ST20D-****D | SVT25988 | CS-MTRADE, s.r.o.
N | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (1f/230V/50Hz) | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | ZUBADAN INVERTER 14,0 kW R32 (1f/230V/50Hz) | Mitsubishi Electric | ZUBADAN INVERTER | 14,0 kW | R32 | (1f/230V/50Hz) | PUD-SHWM140VAA/E*ST30D-****D | SVT25989 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 14,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM140YAA / E*SD-****D | SVT25990 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 14,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM140YAA / E*ST20D-****D | SVT25991 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER 14,0 kW - R32 (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | ZUBADAN Inverter 14,0 kW R32 (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 14,0 kW | R32 | (3f/400V/50Hz) | PUD-SHWM140YAA / E*ST30D-****D | SVT25992 | CS-MTRADE, s.r.o.
A |  |  |  | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW80YAA/E*ST20C-**D |  | CS-MTRADE, s.r.o.
A |  |  |  | ZUBADAN Inverter 8,0 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 8,0 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW80YAA/E*ST30C-**D |  | CS-MTRADE, s.r.o.
A | Mitsubishi Electric Mr. SLIM+ 7,5 kW | Mitsubishi Electric Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a Heat Recovery hybrid System 2 v 1 (1f/230V/50Hz) |  | Mitsubishi Electric | Mr. SLIM+ | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-FRP71VHA2/EHSC-****D | SVT30357 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric Mr. SLIM+ 7,5 kW | Mitsubishi Electric Mr. SLIM+ 7,5 kW R410a (1f/230V/50Hz) | Mr. SLIM+ 7,5 kW R410a Heat Recovery hybrid System 2 v 1 (1f/230V/50Hz) |  | Mitsubishi Electric | Mr. SLIM+ | 7,5 kW | R410a | (1f/230V/50Hz) | PUHZ-FRP71VHA2/EHST20C-****D | SVT30358 | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER kompakt 14,0 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter kompakt 14,0 kW R410a (3f/400V/50Hz) |  |  | Mitsubishi Electric | ZUBADAN Inverter kompakt | 14,0 kW | R410a | (3f/400V/50Hz) | PUHZ-HW140YHA/EHP*-YM9D | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER kompakt 6,0 kW (1f/230V/50Hz) | Mitsubishi Electric POWER Inverter kompakt 6,0 kW R410a (1f/230V/50Hz) |  |  | Mitsubishi Electric | POWER Inverter kompakt | 6,0 kW | R410a | (1f/230V/50Hz) | PUHZ-W60VAA/EHP*-YM9D | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER kompakt 9,0 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter kompakt 9,0 kW R410a (3f/400V/50Hz) |  |  | Mitsubishi Electric | POWER Inverter kompakt | 9,0 kW | R410a | (3f/400V/50Hz) | PUHZ-W85YAA/EHP*-YM9D | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER kompakt 11,2 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter kompakt 11,2 kW R410a (3f/400V/50Hz) |  |  | Mitsubishi Electric | POWER Inverter kompakt | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-W112YAA/EHP*-YM9D | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric ZUBADAN INVERTER kompakt 14,0 kW (3f/400V/50Hz) | Mitsubishi Electric ZUBADAN Inverter kompakt 14,0 kW R32 (3f/400V/50Hz) |  |  | Mitsubishi Electric | ZUBADAN Inverter kompakt | 14,0 kW | R32 | (3f/400V/50Hz) | PUZ-HWM140YHA/EHP*-YM9ED | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER kompakt 6,0 kW (1f/230V/50Hz) | Mitsubishi Electric POWER Inverter kompakt 6,0 kW R32 (1f/230V/50Hz) | POWER Inverter kompakt 6,0 kW R32 (1f/230V/50Hz) |  | Mitsubishi Electric | POWER Inverter kompakt | 6,0 kW | R32 | (1f/230V/50Hz) | PUZ-W60VAA/E*PX-****D | není | CS-MTRADE, s.r.o.
|  |  | POWER Inverter kompakt 6,0 kW R32 (1f/230V/50Hz) |  | Mitsubishi Electric | POWER Inverter kompakt | 6,0 kW | R32 | (1f/230V/50Hz) | PUZ-W60VAA/E*PT20X-****D
A | Mitsubishi Electric POWER INVERTER kompakt 9,0 kW (3f/400V/50Hz) | Mitsubishi Electric POWER Inverter kompakt 9,0 kW R32 (3f/400V/50Hz) |  |  | Mitsubishi Electric | POWER Inverter kompakt | 9,0 kW | R32 | (3f/400V/50Hz) | PUZ-WM85YAA/EHP*-YM9ED | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric POWER INVERTER kompakt 11,2 kW (3f/400V/50Hz) | Mitsubishi Electric POWER INVERTER kompakt 11,2 kW R32 (3f/400V/50Hz) |  |  | Mitsubishi Electric | POWER INVERTER kompakt | 11,2 kW | R32 | (3f/400V/50Hz) | PUZ-WM112YAA/EHP*-YM9ED | není | CS-MTRADE, s.r.o.
A | Mitsubishi Electric CO2 tepelné čerpadlo 40,0 kW (3f/400V/50Hz) | Mitsubishi Electric CO2 tepelné čerpadlo 40,0 kW R744 (3f/400V/50Hz) |  |  | Mitsubishi Electric | CO2 tepelné čerpadlo | 40,0 kW | R744 | (3f/400V/50Hz) | QAHV-N560YA-HPB | není | CS-MTRADE, s.r.o. | není en. štítek
A | Mitsubishi Electric geotermální tepelné čerpadlo 60,0 kW (3f/400V/50Hz) | Mitsubishi Electric geotermální tepelné čerpadlo 60,0 kW R410a (3f/400V/50Hz) |  |  | Mitsubishi Electric | geotermální tepelné čerpadlo | 60,0 kW | R410a | (3f/400V/50Hz) | CRHV-P600YA-HPB | není | CS-MTRADE, s.r.o.
A |  |  |  | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW112YAA/E*ST20C-**D |  | CS-MTRADE, s.r.o.
A |  |  |  | ZUBADAN Inverter 11,2 kW R410a (3f/400V/50Hz) | Mitsubishi Electric | ZUBADAN Inverter | 11,2 kW | R410a | (3f/400V/50Hz) | PUHZ-SHW112YAA/E*ST30C-**D |  | CS-MTRADE, s.r.o.
Tepelná čerpadla Mitsubishi Electric ZUBADAN Inverter jsou vybavena unikátní technologií vstřiku chladiva do kompresoru. Poskytují konstantní topný výkon až do teploty venkovního vzduchu -15 °C.
Tepelná čerpadla Mitsubishi Electric POWER Inverter jsou vhodná pro celoroční vytápění. Při venkovní teplotě -15 °C poskytují stále 75 až 90 % z nominálního výkonu. Vytápění až do venkovní teploty -25 °C.
Tepelná čerpadla Mitsubishi Electric ECO Inverter jsou vhodná pro domy s malou tepelnou ztrátou. Jsou vybavena plynou regulací výkonu a vytápění je možné až do venkotní teploty -20 °C.

## Split
Nová zelená úsporám (2021-2030)
Kategorie | Druh | Výrobce | Název | Typové oznašení | SVT kód
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | MSZ-FT Hyper Heating | MSZ-FT25VG / MUZ-FT25VGHZ | SVT33487 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | MSZ-FT Hyper Heating | MSZ-FT35VG / MUZ-FT35VGHZ | SVT33488 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | MSZ-RW Hyper Heating | MSZ-RW25VG / MUZ-RW25VGHZ | SVT33445 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | MSZ-RW Hyper Heating | MSZ-RW35VG / MUZ-RW35VGHZ | SVT33446 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | MSZ-RW Hyper Heating | MSZ-RW50VG / MUZ-RW50VGHZ | SVT33447 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY25VGK / MUZ-AY25VG | SVT33448 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY35VGK / MUZ-AY35VG | SVT33449 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY42VGK / MUZ-AY42VG | SVT33450 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY50VGK / MUZ-AY50VG | SVT33451 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY25VGKP / MUZ-AY25VG | SVT33448 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY35VGKP / MUZ-AY35VG | SVT33449 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY42VGKP / MUZ-AY42VG | SVT33450 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AY | MSZ-AY50VGKP / MUZ-AY50VG | SVT33451 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN | MSZ-LN25VG2 / MUZ-LN25VG2 | SVT30189
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN | MSZ-LN35VG2 / MUZ-LN35VG2 | SVT30193
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN | MSZ-LN50VG2 / MUZ-LN50VG2 | SVT30198
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN | MSZ-LN60VG2 / MUZ-LN60VG2 | SVT30219
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN Hyper Heating | MSZ-LN25VG2 / MUZ-LN25VGHZ2 | SVT30218
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN Hyper Heating | MSZ-LN35VG2 / MUZ-LN35VGHZ2 | SVT30220
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Diamond MSZ-LN Hyper Heating | MSZ-LN50VG2 / MUZ-LN50VGHZ | SVT30221
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Premium MSZ-EF | MSZ-EF25VGK / MUZ-EF25VG | SVT30227
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Premium MSZ-EF | MSZ-EF35VGK / MUZ-EF35VG | SVT30228
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Premium MSZ-EF | MSZ-EF42VGK / MUZ-EF42VG | SVT30229
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AP | MSZ-AP25VGK / MUZ-AP25VG | SVT30230
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AP | MSZ-AP35VGK / MUZ-AP35VG | SVT30232
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AP | MSZ-AP42VGK / MUZ-AP42VG | SVT30233
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Kompaktní jednotka MSZ-AP | MSZ-AP50VGK / MUZ-AP50VG | SVT30235
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Standardní jednotka MSZ-AP | MSZ-AP60VGK / MUZ-AP60VG | SVT30245
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | 1 cestná kazetová jednotka | MLZ-KP35VF / SUZ-M35VA | SVT30237

## Multisplit
Nová zelená úsporám (2021-2030)
Kategorie | Druh | Výrobce | Název | Typové oznašení | SVT kód
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/25VG2 / MXZ-2F42VF3 | SVT30244
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/35VG2 / MXZ-2F53VF3 | SVT30247
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/18/18VG2 / MXZ-3F54VF3 | SVT30247
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/18VG2/SLZ-M15FA / MXZ-3F54VF4 | SVT36327 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/18/25/25VG2 / MXZ-4F83VF | SVT30249
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Diamond | MSZ-LN18/18/18/25/25VG2 / MXZ-5F102VF | SVT30262
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/25VGK / MXZ-2F42VF3 | SVT30901
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/35VGK / MXZ-2F53VF3 | SVT30902
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/35VGK / MXZ-2F53VF4 | SVT35231 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/18/18VGK / MXZ-3F54VF3 | SVT30903
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/18/18VGK / MXZ-3F54VF4 | SVT34584 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Premium | MSZ-EF18/18/18/18/35VGK / MXZ-5F102VF | SVT34303
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Kompakt | MSZ-AP15/15/20VGK / MXZ-3F54VF3 | SVT30905
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Kompakt | MSZ-AP15/15/20VGK / MXZ-3F54VF4 | SVT34932 | NEW
Tepelná čerpadla | vzduch - vzduch | Mitsubishi Electric | Multisplit MXZ / Kompakt | MSZ-AP15/20VGK / MXZ-2F42VF3 | SVT30904